## Cover
COST-EFFECTIVENESS ANALYSIS
MWA KENYA (DRIP FUNDI) — PRELIMINARY: no health headline by design
Intervention | Sensor-monitored borehole uptime + repair logistics, 5 ASAL counties
Pathway | Drought-resilience water ACCESS (quantity/reliability), carbon-financed maintenance
Partner | Millennium Water Alliance; gov't NDMA Kenya; USAID BHA installation grant
Analyst / Date | Virridy Carbon CEA Toolbox (Claude) — 2026-08-07
Version | v1 PRELIMINARY
Data basis | Proforma extract 2026-08-07; GS SDWS V2.0 bottom-up yield 0.103
COLOR KEY
WHY THERE IS NO $/DALY HEADLINE
This program restores and keeps WATER ACCESS during drought; it does not treat water quality. A defensible DALY pathway (borehole uptime -> consumption/health in ASAL drought) has not been designed, and publishing one would be false precision. Measured service outcomes and carbon metrics are the honest outputs of v1. The EAP pipeline is NOT applied because no health effect size is modeled. | Calculated formula — do not hardcode
Green text | Cross-sheet reference
Repair time (measured) | 214 -> 26 days
Borehole functionality (measured) | 56% -> 91% (target 90% uptime)
Net credits 2025-2033 (tCO2e) | 543194
$/tCO2e (full cost basis) | 13.7903
vs SCC $185 | 13.4152
$/tCO2e integrity-adjusted (0.765) | 18.0265
vs SCC $185 | 10.2627
Maintenance financing 2025-33 (70% of partner carbon revenue) | 5675872.118
Maintenance financing per person-year (steady state, matched population) | 1.1435

## Assumptions
SERIES 2025-2033 (proforma extract 2026-08-07)
Series | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | Total
Net credits (tCO2e) | 0 | 16231 | 26019 | 56196 | 69843 | 83491 | 97138 | 97138 | 97138
Buy price to partner ($/cr) | 9.2 | 9.2 | 9.3 | 9.5 | 9.6 | 9.7 | 9.8 | 9.9 | 9.9
Sell price, channel ($/cr) | 15 | 15 | 18 | 19 | 20 | 25 | 30 | 30 | 30
Virridy purchases ($) | 0 | 149325 | 241977 | 533862 | 670493 | 809863 | 951952 | 961666 | 961666
Partner upside 30% ($) | 0 | 28242 | 67910 | 160159 | 217910 | 383224 | 588656 | 585742 | 585742
Implied population (credits/0.103) | 0 | 157583 | 252612 | 545592 | 678087 | 810592 | 943087 | 943087 | 943087
COST BASIS — SINGLE DENOMINATOR
USAID BHA installation grant ($) | 2000000 | installed the sensors/systems the credits monitor
Guaranteed first batch ($) | 210000 | MIN(credits,7000) x $30, once (2026)
Credit purchases 2025-33 ($) | 5280804 | credits x buy price
TOTAL_PROGRAMME_COST ($)
Person-years served (credits / 0.103) | 5273728 | FLAG: implies population ramp 158K (2026) -> 943K (2031+); verified current reach 120,000 people / 200 sites
Cost per person-year ($)
INTEGRITY + FINANCING
Residual baseline factor | 85% | V2.0 bottom-up reconstruction, DHS QPW 3.25 anchored
Uptime/delivery factor | 90% | 90% uptime target; sensor-verified
Leakage | 100%
Maintenance share of partner revenue | 70% | program commitment: >70% to pump maintenance
Social Cost of Carbon ($/t) | 185 | Rennert et al. 2022

## CEA Model
CARBON + FINANCING METRICS (no health chain by design)
Total net credits (tCO2e) | 543194
$/tCO2e (cost basis) | 13.7903
vs SCC (credited) | 13.4152
Credit integrity ratio | 76.5%
$/tCO2e integrity-adjusted | 18.0265
vs SCC (integrity) | 10.2627
Partner-side carbon revenue 2025-33 ($) | 8108389
Maintenance financing (70%) ($) | 5675872
Maintenance $/person-year (steady state) | 1.1435
ONE-WAY SCENARIOS (preliminary — no Monte Carlo)
Scenario | Credits | $/t cost basis | $/t integrity-adj | Maint $/person-yr | Reading
Base case | 543194 | 13.7903 | 18.0265 | 1.1435 | expanded-demand base
S1 contracted-only (Mortenson 147,440) | 147440 | 24.7013 | 32.2893 | 0.70586 | floor case; still 7.5x SCC
S2 voluntary $10 backstop | 543194 | 13.7903 | 18.0265 | 0.71091 | cost side unchanged; maintenance financing thins to $0.71/person-yr
S3 uptime 0.75 | 543194 | 13.7903 | 21.6318 | 0.95292 | integrity 0.64; still 8.6x SCC

## Critique
Critique Dimension | Rating | Assessment
1. Effect size quality | FLAG | No health effect size is modeled, deliberately. The service outcomes (repair 214->26 days, functionality 56%->91%) are measured program data, not modeled effects. The EAP pipeline is not applied. Designing a defensible drought-access -> health pathway is the v2 gate.
2. Counterfactual robustness | MODERATE | NDMA and county governments are the named alternative maintainers; historical performance (56% functionality pre-program) is the observed counterfactual. Carbon-side: Mortenson offtake is philanthropic demand; commercial replacement developer is less plausible at 0.103 yield.
3. Moral weight transparency | FLAG | Not applicable in v1: no units of value are computed. Stated to prevent silent reintroduction.
4. Attribution & integrity | MODERATE | Installation was USAID BHA funded; Virridy's carbon layer finances MAINTENANCE. The model therefore includes the $2M grant in the cost basis rather than claiming maintenance-only costs against full-system benefits. Integrity 0.765 = V2.0 bottom-up baseline 0.85 x uptime 0.90.
5. Excluded factors | FLAG | Excluded: any health valuation (by design), non-Kenya scaling, sensor replacement capex beyond the grant, NDMA co-financing (would lower Virridy-attributable cost). Population ramp 120K -> ~943K implied by the credit projections is a proforma assumption, flagged, not evidence.
6. Ranking stability | MODERATE | Climate finding stable: worst scenario (contracted-only) is $24.70/t, 7.5x below SCC. The fragile number is maintenance financing per person-year ($1.14 steady state), which halves at the $10 voluntary backstop.